## Revision
Date | Description | Version | Author | Status Implementation | Status Product Knowledge | Change Valid From in ERP | Knowledge Base Version CRM
2016-03-31 | Document created | 1.0 | JR | not implemented | not released
2016-04-02 | Adding attributes | 1.1 | JR | not implemented | not released
2016-04-19 | Update attributes | 1.2 | JR | not implemented | not released
11.May.16 | Update attributes / review Omar | 1.3 | JR | not implemented | not released

## Root Material
Product |  |  | Labels
| Name | LV-SB-MF | en | MF Switchboard
productImage
| UnitofMeasure | Piece
| BOM allowed | true
| Optional allowed | true
| Discount allowed | true
| Export to ECC | TRUE
| Export to CRM | false
| Product Status | active
| Product Type | FINISHEDGOOD
| Category | SwitchboardCategory
| KnowledgeBase Name | LV-SB-MF-KB
ERP ID
| Use BOM Entry | FALSE
Settings
| CreateProductsBOM | FALSE
SAP System
Client
Note on B17: friedrich.teucher: controls if products on tab 'BOM' are created on import

## BOM
[10 empty] | Attibutes | BB
[9 empty] | http://www.inmindcomputing.com/application/products/products-schema.owl# | http://www.inmindcomputing.com/application/products/products-schema.owl#materialCost | http://www.inmindcomputing.com/application/products/products-schema.owl#materialRoutingAssemblyHrs | http://www.inmindcomputing.com/application/products/products-schema.owl#materialRoutingBusbarTechnHrs | http://www.inmindcomputing.com/application/products/products-schema.owl#materialRoutingBasbarCellHrs | http://www.inmindcomputing.com/application/products/products-schema.owl#materialRoutingLaserHrs | http://www.inmindcomputing.com/application/products/products-schema.owl#materialRoutingWiringHrs
[10 empty] | decimal | decimal | decimal | decimal | decimal | decimal
ERPMaterialCode | CPQproductECCId | SalesBOM | CATEGORY | Product Type | Export to ECC | Export to CRM | CURRENCY | COST | KnowledgeBaseType | Costs | RoutingAssemblyHrs | RoutingBusbarTechnHrs | RoutingBasbarCellHrs | RoutingLaserHrs | RoutingWiringHrs

## Configuration
[15 empty] | Selectable if | [9 empty] | Selected if | [9 empty] | Rule Comment | Attribution Factor | Enablement | Short Text |  | Long Text
USER | INTERNAL | http://www.inmindcomputing.com/application/application-schema.owl#Group | USER | INTERNAL | http://www.inmindcomputing.com/platform/platform-schema.owl#DynamicSymbolicAttribute | Type | http://www.inmindcomputing.com/platform/platform-schema.owl#dynamicAttributeMultiValued | http://www.inmindcomputing.com/platform/platform-schema.owl#dynamicAttributeMandatory | http://www.inmindcomputing.com/platform/platform-schema.owl#dynamicAttributeEnumerable |  | Default | USER | http://www.inmindcomputing.com/platform/platform-schema.owl#SymbolicValue | ComponentSelection | Selectable | [9 empty] | http://www.inmindcomputing.com/platform/platform-schema.owl#selectsSymbolicValue | [10 empty] | http://www.inmindcomputing.com/application/application-schema.owl#attributionFactor | http://www.inmindcomputing.com/application/application-implementation.owl# | http://www.w3.org/2000/01/rdf-schema#label |  | http://www.w3.org/2000/01/rdf-schema#comment
Group | Group internal | Group ID | Characteristic | Characteristic internal | Characteristic ID | Type | MultiValued | Input Mandatory | enumerable | Read Only | Default | Values | Value ID | Component Selection | Selectable if | Selectable if | Selectable if | Selectable if | Selectable if | Selectable if | Selectable if | Selectable if | Selectable if | Selectable if | Selected if | Selected if | Selected if | Selected if | Selected if | Selected if | Selected if | Selected if | Selected if | Selected if |  |  | SalesOrg | en | de | en | de
Electrical Details | Electrical Details | LV-SB-MF_Group_Electrical_Details |  | Characteristic internal | [33 empty] | Electrical Details | Maschine
| Electrical Details |  | Rated operating voltage (Ue) | Rated operating voltage (Ue) | LV-SB-MF_VOLTAGE | choice |  | x | x | [28 empty] | Rated operating voltage (Ue) | Spannung
| Electrical Details |  |  | Rated operating voltage (Ue) | [6 empty] | x | 400 Vac | SB_Operating_Voltage_400 | [24 empty] | 400 Vac
| Electrical Details |  |  | Rated operating voltage (Ue) | [7 empty] | 380 Vac | SB_Operating_Voltage_380 | [24 empty] | 380 Vac
| Electrical Details |  |  | Rated operating voltage (Ue) | [7 empty] | 220 Vac | SB_Operating_Voltage_220 | [24 empty] | 220 Vac
| Electrical Details |  |  | Rated operating voltage (Ue) | LV-SB-MF_FREQUENCY | choice |  | x | x |  |  | Rated frequency | [25 empty] | Rated frequency
| Electrical Details |  |  | Rated operating voltage (Ue) | [7 empty] | 50 HZ | SB_FREQUENCY_50HZ | [24 empty] | 50 HZ
| Electrical Details |  |  | Rated operating voltage (Ue) | [6 empty] | x | 60 HZ | SB_FREQUENCY_60HZ | [24 empty] | 60 HZ
| Electrical Details |  | Main busbars rated current (Ie) [A] | Main busbars rated current (Ie) [A] | LV-SB-MF_IBB | choice |  | x | x | [28 empty] | Main busbars rated current (Ie) [A] | Ohne
| Electrical Details |  |  | Main busbars rated current (Ie) [A] | [7 empty] | 6300 | SB_BUSBAR_RATING_6300 | [24 empty] | 6300
| Electrical Details |  |  | Main busbars rated current (Ie) [A] | [7 empty] | 5000 | SB_BUSBAR_RATING_5000 | [24 empty] | 5000
| Electrical Details |  |  | Main busbars rated current (Ie) [A] | [6 empty] | x | 4000 | SB_BUSBAR_RATING_4000 | [24 empty] | 4000
| Electrical Details |  |  | Main busbars rated current (Ie) [A] | [7 empty] | 3200 | SB_BUSBAR_RATING_3200 | [24 empty] | 3200
| Electrical Details |  |  | Main busbars rated current (Ie) [A] | [7 empty] | 3000 | SB_BUSBAR_RATING_3000 | [24 empty] | 3000
| Electrical Details |  |  | Main busbars rated current (Ie) [A] | [7 empty] | 2500 | SB_BUSBAR_RATING_2500 | [24 empty] | 2500
| Electrical Details |  |  | Main busbars rated current (Ie) [A] | [7 empty] | 2000 | SB_BUSBAR_RATING_2000 | [24 empty] | 2000
| Electrical Details |  |  | Main busbars rated current (Ie) [A] | [7 empty] | 1600 | SB_BUSBAR_RATING_1600 | [24 empty] | 1600
| Electrical Details |  |  | Main busbars rated current (Ie) [A] | [7 empty] | 1250 | SB_BUSBAR_RATING_1250 | [24 empty] | 1250
| Electrical Details |  |  | Main busbars rated current (Ie) [A] | [7 empty] | 1000 | SB_BUSBAR_RATING_1000 | [24 empty] | 1000
| Electrical Details |  | Main busbars system | Main busbars system | LV-SB-MF_BBSYSTEM | choice |  | x | x | [28 empty] | Main busbars system
| Electrical Details |  |  | Main busbars system | [6 empty] | x | 3P+N+PE | SB_BUSBAR_SYSTEM_3P+N+PE | [24 empty] | 3P+N+PE
| Electrical Details |  |  | Main busbars system | [7 empty] | 3P+PEN | SB_BUSBAR_SYSTEM_3P+PEN | [24 empty] | 3P+PEN
| Electrical Details |  |  | Main busbars system | [7 empty] | 4P+PE | SB_BUSBAR_SYSTEM_4P+PE | [24 empty] | 4P+PE
| Electrical Details |  | MBB rated short-time withstand current (Icw) | MBB rated short-time withstand current (Icw) | LV-SB-MF_ICW | choice |  | x | x | [28 empty] | MBB rated short-time withstand current (Icw)
| Electrical Details |  |  | MBB rated short-time withstand current (Icw) | [7 empty] | 50 kA | SB_ICW_50 | [24 empty] | 50 kA
| Electrical Details |  |  | MBB rated short-time withstand current (Icw) | [7 empty] | 65 kA | SB_ICW_65 | [24 empty] | 65 kA
| Electrical Details |  |  | MBB rated short-time withstand current (Icw) | [7 empty] | 85 kA | SB_ICW_85 | [24 empty] | 85 kA
| Electrical Details |  |  | MBB rated short-time withstand current (Icw) | [6 empty] | x | 100 kA | SB_ICW_100 | [24 empty] | 100 kA
| Electrical Details |  |  | MBB rated short-time withstand current (Icw) | [7 empty] | 120 kA | SB_ICW_120 | [24 empty] | 120 kA
| Electrical Details |  | Panel access | Panel access | LV-SB-MF_PANEL_ACCESS | choice |  | x | x | [28 empty] | Panel access
| Electrical Details |  |  | Panel access | [6 empty] | x | Front | SB_PANEL_ACCESS_FRONT | [24 empty] | Front
| Electrical Details |  |  | Panel access | [7 empty] | Rear | SB_PANEL_ACCESS_REAR | [24 empty] | Rear
| Electrical Details |  |  | Panel access | [7 empty] | Side | SB_PANEL_ACCESS_SIDE | [24 empty] | Side
| Electrical Details |  | Control voltage (Uc) | Control voltage (Uc) | LV-SB-MF_CONTROL_VOLTAGE | choice |  | x | x | [28 empty] | Control voltage (Uc)
| Electrical Details |  |  | Control voltage (Uc) | [6 empty] | x | No | SB_CONTROL_VOLTAGE_NO | [24 empty] | No
| Electrical Details |  |  | Control voltage (Uc) | [7 empty] | 110 Vac | SB_CONTROL_VOLTAGE_110 | [24 empty] | 110 Vac | Optionen
| Electrical Details |  |  | Control voltage (Uc) | [7 empty] | 220 Vac | SB_CONTROL_VOLTAGE_220 | [24 empty] | 220 Vac
| Electrical Details |  | Withstand for seismic up to Richter scale-8 | Withstand for seismic up to Richter scale-8 | LV-SB-MF_SEISMIC | choice |  |  | x | [28 empty] | Withstand for seismic up to Richter scale-8
| Electrical Details |  |  | Withstand for seismic up to Richter scale-8 | [6 empty] | x | No | SB_SEISMIC_N | [24 empty] | No
| Electrical Details |  |  | Withstand for seismic up to Richter scale-8 | [7 empty] | Yes | SB_SEISMIC_Y | [24 empty] | Yes
| Electrical Details |  | Internal arc fault proof | Internal arc fault proof | LV-SB-MF_ARC | choice |  |  | x | [28 empty] | Internal arc fault proof
| Electrical Details |  |  | Internal arc fault proof | [6 empty] | x | No | SB_ARC_N | [24 empty] | No
| Electrical Details |  |  | Internal arc fault proof | [7 empty] | Yes | SB_ARC_Y | [24 empty] | Yes
| Electrical Details |  | Breaker Poles (Default) | Breaker Poles (Default) | LV-SB-MF_POLE | choice |  |  | x | [28 empty] | Breaker Poles (Default)
| Electrical Details |  |  | Breaker Poles (Default) | [6 empty] | x | 3 Pole | SB_3POLE | [24 empty] | 3 Pole
| Electrical Details |  |  | Breaker Poles (Default) | [7 empty] | 4 Pole | SB_4POLE | [24 empty] | 4 Pole
| Electrical Details |  | R&D Status | R&D Status | LV-SB-MF_RUD | choice |  |  | x | [28 empty] | R&D Status
| Electrical Details |  |  | R&D Status | [7 empty] | Standard | SB_RUD_STANDARD |  | SB_BUSBAR_RATING_4000 | SB_BUSBAR_RATING_3200 | SB_BUSBAR_RATING_3000 | SB_BUSBAR_RATING_2500 | SB_BUSBAR_RATING_2000 | SB_BUSBAR_RATING_1600 | SB_BUSBAR_RATING_1250 | SB_BUSBAR_RATING_1000 |  |  | SB_BUSBAR_RATING_4000 | SB_BUSBAR_RATING_3200 | SB_BUSBAR_RATING_3000 | SB_BUSBAR_RATING_2500 | SB_BUSBAR_RATING_2000 | SB_BUSBAR_RATING_1600 | SB_BUSBAR_RATING_1250 | SB_BUSBAR_RATING_1000 | [5 empty] | Standard
| Electrical Details |  |  | R&D Status | [7 empty] | Development | SB_RUD_CONSTRUCT |  | SB_BUSBAR_RATING_5000 | SB_BUSBAR_RATING_6300 | [8 empty] | SB_BUSBAR_RATING_5000 | SB_BUSBAR_RATING_6300 | [11 empty] | Development
Mechanical Details for Enclosure | Mechanical Details for Enclosure | LV-SB-MF_Group_Mechanical_Details_for_Enclosure |  | R&D Status | [33 empty] | Mechanical Details for Enclosure
| Mechanical Details for Enclosure |  | Forms of separation | Forms of separation | LV-SB-MF_SEPERATION | choice |  | x | x | [28 empty] | Forms of separation
| Mechanical Details for Enclosure |  |  | Forms of separation | [7 empty] | Form1 | SB_FORM_1 | [24 empty] | Form1
| Mechanical Details for Enclosure |  |  | Forms of separation | [7 empty] | Form2 | SB_FORM_2 | [24 empty] | Form2
| Mechanical Details for Enclosure |  |  | Forms of separation | [7 empty] | Form3 | SB_FORM_3 | [24 empty] | Form3
| Mechanical Details for Enclosure |  |  | Forms of separation | [6 empty] | x | Form4 | SB_FORM_4 | [24 empty] | Form4
| Mechanical Details for Enclosure |  | Thickness of Enclosure / Frams [mm] | Thickness of Enclosure / Frams [mm] | LV-SB-MF_THICKENS | choice |  | x | x | [28 empty] | Thickness of Enclosure / Frams [mm]
| Mechanical Details for Enclosure |  |  | Thickness of Enclosure / Frams [mm] | [6 empty] | x | 1.6mm Sheet/2.0mm Frame | SB_1-6_2-0-MM | [24 empty] | 1.6mm Sheet/2.0mm Frame
| Mechanical Details for Enclosure |  |  | Thickness of Enclosure / Frams [mm] | [7 empty] | 2.0mm Sheet/2.0mm Frame | SB_2-0_2-0-MM | [24 empty] | 2.0mm Sheet/2.0mm Frame
| Mechanical Details for Enclosure |  | Degrees of protection up to | Degrees of protection up to | LV-SB-MF_IP | choice |  | x | x | [28 empty] | Degrees of protection up to
| Mechanical Details for Enclosure |  | IP 42 | IP 42 | [6 empty] | x | IP 42 | SB_IP42 | [24 empty] | IP 42IP 42
| Mechanical Details for Enclosure |  | IP 54 | IP 54 | [7 empty] | IP 54 | SB_IP54 | [24 empty] | IP 54IP 54
| Mechanical Details for Enclosure |  | Depth of panel [mm] | Depth of panel [mm] | LV-SB-MF_DEPTH | decimal |  | x | x | [28 empty] | Depth of panel [mm]
| Mechanical Details for Enclosure |  |  | Depth of panel [mm] | [7 empty] | 600 | 600
| Mechanical Details for Enclosure |  |  | Depth of panel [mm] | [6 empty] | x | 800 | 800
| Mechanical Details for Enclosure |  |  | Depth of panel [mm] | [7 empty] | 1000 | 1000
| Mechanical Details for Enclosure |  | Forced Ventilation | Forced Ventilation | LV-SB-MF_VENTILATION | choice |  | x | x | [28 empty] | Forced Ventilation
| Mechanical Details for Enclosure |  |  | Forced Ventilation | [6 empty] | x | No | SB_VENTILATION_NATURAL | [24 empty] | No
| Mechanical Details for Enclosure |  |  | Forced Ventilation | [7 empty] | Yes | SB_VENTILATION_FORCED | [24 empty] | Yes
| Mechanical Details for Enclosure |  | Paint finish | Paint finish | LV-SB-MF_COLOR | choice |  | x | x | [28 empty] | Paint finish
| Mechanical Details for Enclosure |  |  | Paint finish | [6 empty] | x | RAL7035 (light grey) | SB_COLOR_STANDARD | [24 empty] | RAL7035 (light grey)
| Mechanical Details for Enclosure |  |  | Paint finish | [7 empty] | Custom | SB_COLOR_CUSTOM | [24 empty] | Custom
| Mechanical Details for Enclosure |  | SKD base Height [mm] | SKD base Height [mm] | LV-SB-MF_BASE_HEIGHT | decimal |  | x | x | [28 empty] | SKD base Height [mm]
| Mechanical Details for Enclosure |  |  | SKD base Height [mm] | [6 empty] | x | 50 | 50
| Mechanical Details for Enclosure |  |  | SKD base Height [mm] | [7 empty] | 100 | 100
| Mechanical Details for Enclosure |  |  | SKD base Height [mm] | [7 empty] | 150 | 150
| Mechanical Details for Enclosure |  |  | SKD base Height [mm] | [7 empty] | 200 | 200
| Mechanical Details for Enclosure |  | Height over base [mm] | Height over base [mm] | LV-SB-MF_HEIGHT | char |  |  |  | x | [27 empty] | Height over base [mm]
| Mechanical Details for Enclosure |  |  | Height over base [mm] | [6 empty] | x | 2150 | 2150 | [21 empty] | Read only, for information |  |  | 2150
Busbars Details | Busbars Details | LV-SB-MF_Group_Busbars_Details |  | Height over base [mm] | [33 empty] | Busbars Details
| Busbars Details |  | Incoming cable entry | Incoming cable entry | LV-SB-MF_INCOM_CABLE | choice |  | x | x | [28 empty] | Incoming cable entry
| Busbars Details |  |  | Incoming cable entry | [6 empty] | x | Bottom | SB_INCOM_CABLE_BOTTOM | [24 empty] | Bottom
| Busbars Details |  |  | Incoming cable entry | [7 empty] | Top | SB_INCOM_CABLE_TOP | [24 empty] | Top
| Busbars Details |  | Outgoing cable | Outgoing cable | LV-SB-MF_OUT_CABLE | choice |  |  | x | [28 empty] | Outgoing cable
| Busbars Details |  |  | Outgoing cable | [7 empty] | Bottom | SB_INCOM_OUT_BOTTOM |  | SB_INCOM_CABLE_BOTTOM | [9 empty] | SB_INCOM_CABLE_BOTTOM | [12 empty] | Bottom
| Busbars Details |  |  | Outgoing cable | [7 empty] | Top | SB_INCOM_OUT_TOP |  | SB_INCOM_CABLE_TOP | [9 empty] | SB_INCOM_CABLE_TOP | [12 empty] | Top
| Busbars Details |  | Main busbars position | Main busbars position | LV-SB-MF_BBP | choice |  | x | x | [28 empty] | Main busbars position
| Busbars Details |  |  | Main busbars position | [7 empty] | Lower Horizontal Busbar | SB_LHBB |  | SB_INCOM_CABLE_TOP | [9 empty] | SB_INCOM_CABLE_TOP | [12 empty] | Lower Horizontal Busbar
| Busbars Details |  |  | Main busbars position | [7 empty] | Upper Horizontal Busbar | SB_UHBB |  | SB_INCOM_CABLE_BOTTOM | [9 empty] | SB_INCOM_CABLE_BOTTOM | [12 empty] | Upper Horizontal Busbar
| Busbars Details |  | Busbar sleeving | Busbar sleeving | LV-SB-MF_BB_SLEEVE | choice |  | x | x | [28 empty] | Busbar sleeving
| Busbars Details |  |  | Busbar sleeving | [6 empty] | x | No | SB_BB_SLEEVING_NO | [24 empty] | No
| Busbars Details |  |  | Busbar sleeving | [7 empty] | Yes | SB_BB_SLEEVING_YES | [24 empty] | Yes
| Busbars Details |  | Busbar plating | Busbar plating | LV-SB-MF_BB_PLATING | choice |  | x | x | [28 empty] | Busbar plating
| Busbars Details |  |  | Busbar plating | [6 empty] | x | Bare | SB_BB_NO | [24 empty] | Bare
| Busbars Details |  |  | Busbar plating | [7 empty] | Tin | SB_BB_TIN | [24 empty] | Tin
| Busbars Details |  |  | Busbar plating | [7 empty] | Silver | SB_BB_SILVER | [24 empty] | Silver
| Busbars Details |  | Busbar Size [ n x mm x mm] | Busbar Size [ n x mm x mm] | LV-SB-MF_BB-CROSS-SECTION | choice |  | x | x | [28 empty] | Busbar Size [ n x mm x mm]
| Busbars Details |  |  | Busbar Size [ n x mm x mm] | [7 empty] | 1 x 85 x 10 | SB_BUSBAR_SIZE_1x85x10 |  | SB_BUSBAR_RATING_1000 | SB_BUSBAR_RATING_1250 | [8 empty] | SB_BUSBAR_RATING_1000 | SB_BUSBAR_RATING_1250 | [11 empty] | 1 x 85 x 10
| Busbars Details |  |  | Busbar Size [ n x mm x mm] | [7 empty] | 2 x 55x 10 | SB_BUSBAR_SIZE_2x55x10 |  | SB_BUSBAR_RATING_1600 | [9 empty] | SB_BUSBAR_RATING_1600 | [12 empty] | 2 x 55x 10
| Busbars Details |  |  | Busbar Size [ n x mm x mm] | [7 empty] | 2 x 70 x 10 | SB_BUSBAR_SIZE_2x70x10 |  | SB_BUSBAR_RATING_2000 | [9 empty] | SB_BUSBAR_RATING_2000 | [12 empty] | 2 x 70 x 10
| Busbars Details |  |  | Busbar Size [ n x mm x mm] | [7 empty] | 2 x 85 x 10 | SB_BUSBAR_SIZE_2x85x10 |  | SB_BUSBAR_RATING_2500 | [9 empty] | SB_BUSBAR_RATING_2500 | [12 empty] | 2 x 85 x 10
| Busbars Details |  |  | Busbar Size [ n x mm x mm] | [7 empty] | 3 x 100 x 10 | SB_BUSBAR_SIZE_3x100x10 |  | SB_BUSBAR_RATING_3000 | SB_BUSBAR_RATING_3200 | [8 empty] | SB_BUSBAR_RATING_3000 | SB_BUSBAR_RATING_3200 | [11 empty] | 3 x 100 x 10
| Busbars Details |  |  | Busbar Size [ n x mm x mm] | [6 empty] | x | 4 x 100 x 10 | SB_BUSBAR_SIZE_4x100x10 |  | SB_BUSBAR_RATING_4000 | [9 empty] | SB_BUSBAR_RATING_4000 | [12 empty] | 4 x 100 x 10
| Busbars Details |  |  | Busbar Size [ n x mm x mm] | [7 empty] | 4 x 150 x 10 | SB_BUSBAR_SIZE_4x150x10 |  | SB_BUSBAR_RATING_5000 | SB_BUSBAR_RATING_6300 | [8 empty] | SB_BUSBAR_RATING_5000 | SB_BUSBAR_RATING_6300 | [11 empty] | 4 x 150 x 10
| Busbars Details |  | Neutral busbars size | Neutral busbars size | LV-SB-MF_BB_N_SIZE | choice |  | x | x | [28 empty] | Neutral busbars size
| Busbars Details |  |  | Neutral busbars size | [7 empty] | 50% from main busbar | SB_BB_N_50P | [24 empty] | 50% from main busbar
| Busbars Details |  |  | Neutral busbars size | [6 empty] | x | 100% from main busbar | SB_BB_N_100P | [24 empty] | 100% from main busbar
| Busbars Details |  | Earth busbars size | Earth busbars size | LV-SB-MF_BB_PE_SIZE | choice |  | x | x | [28 empty] | Earth busbars size
| Busbars Details |  |  | Earth busbars size | [6 empty] | x | 25% from main busbar | SB_BB_PE_25P | [24 empty] | 25% from main busbar
| Busbars Details |  |  | Earth busbars size | [7 empty] | 50% from main busbar | SB_BB_PE_50P | [24 empty] | 50% from main busbar
| Busbars Details |  |  | Earth busbars size | [7 empty] | 100% from main busbar | SB_BB_PE_100P | [24 empty] | 100% from main busbar
| Busbars Details |  | Cable size | Cable size | LV-SB-MF_CABLE_SIZE | choice |  |  | x | [28 empty] | Cable size
| Busbars Details |  |  | Cable size | [6 empty] | x | As per our standard | SB_CABLE_SIZE_STD | [24 empty] | As per our standard
| Busbars Details |  |  | Cable size | [7 empty] | Not as per our standard | SB_CABLE_SIZE_NO_STD | [24 empty] | Not as per our standard
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
| Busbars Details |  |  | Cable size
Busbars Details
Busbars Details
Busbars Details
Busbars Details

## types (hidden)
data types | boolean
choice
boolean
numeric

## ERP Org (hidden)
Sales Org |  |  | Distribution Channel |  |  |  | Plant
0001 | SL Wetzlar | 0001 SL Wetzlar | 01 | Wz:BO Maschinen | Wz:Opht.Opt.Machines | 01 Wz:Opht.Opt.Machines | 0001 | Satisloh GmbH Brillenoptik | 0001 Satisloh GmbH Brillenoptik
0002 | LOH Oensingen | 0002 LOH Oensingen | 02 | Wz:Consumables | Wz:Consumables | 02 Wz:Consumables | 0002 | Satisloh Oensingen AG-obsolet | 0002 Satisloh Oensingen AG-obsolet
0003 | SL Baar | 0003 SL Baar | 03 | Wz:BO Dienstleistung | Wz:Opht.Opt.Services | 03 Wz:Opht.Opt.Services | 0003 | Satisloh AG | 0003 Satisloh AG
0004 | SL France | 0004 SL France | 04 | LOH Oensingen | LOH Oensingen | 04 LOH Oensingen | 0004 | Satisloh France S.A.S. | 0004 Satisloh France S.A.S.
0005 | SL USA | 0005 SL USA | 11 | Wz:FO Dienstleistung | Wz:Prec.Opt.Services | 11 Wz:Prec.Opt.Services | 0005 | Satisloh North America Inc. | 0005 Satisloh North America Inc.
0006 | SL Hongkong | 0006 SL Hongkong | 12 | Wz:FO Maschinen | Wz:Prec.Opt.Machines | 12 Wz:Prec.Opt.Machines | 0006 | Satisloh Asia Ltd. | 0006 Satisloh Asia Ltd.
0007 | SL Zhongshan | 0007 SL Zhongshan | 18 | SL Danyang | SL Danyang | 18 SL Danyang | 0007 | Satisloh Zhongshan | 0007 Satisloh Zhongshan
0008 | SL Settimo | 0008 SL Settimo | 30 | SL Baar | SL Baar | 30 SL Baar | 0008 | Satisloh Italy S.r.l. | 0008 Satisloh Italy S.r.l.
0009 | SL Horgen | 0009 SL Horgen | 40 | SL France | SL France | 40 SL France | 0009 | Satisloh Photonics AG | 0009 Satisloh Photonics AG
0018 | SL Danyang | 0018 SL Danyang | 50 | SL USA | SL USA | 50 SL USA | 0011 | Satisloh GmbH Feinoptik | 0011 Satisloh GmbH Feinoptik
|  |  | 60 | SL Hongkong | SL Hongkong | 60 SL Hongkong | 0018 | Satisloh Danyang | 0018 Satisloh Danyang
|  |  | 70 | SL Zhongshan | SL Zhongshan | 70 SL Zhongshan | 001S | SL GmbH Spain | 001S SL GmbH Spain
|  |  | 80 | SL Settimo | SL Settimo | 80 SL Settimo | 005C | Satisloh Warehouse Canada | 005C Satisloh Warehouse Canada
|  |  | 90 | SL Horgen | SL Horgen | 90 SL Horgen